Annual Drinking Water Quality Report

Underwood, North Dakota

2021

We’re very pleased to provide you with this year's Annual Drinking Water Quality Report. We want to keep you informed about the excellent water and services we have delivered to you over the past year. Our goal is to provide to you a safe and dependable supply of drinking water. Our water comes from the surface water of Lake Sakakawea, purchased from the City of Riverdale. Riverdale treats the water by membrane filtration.  Chloramine is used for disinfection.

The North Dakota Department of Health has prepared a Source Water Assessment for the City of Riverdale.  Information on this program is available at the Riverdale City Office.

Our public water system, in cooperation with the North Dakota Department of Health, has completed the delineation and contaminant/land use inventory elements of the North Dakota Source Water Protection Program.  Based on the information from these elements, the North Dakota Department of Health has determined that our source water is moderately susceptible to potential contaminants.  No significant sources of contamination have been identified.

We’re very pleased to provide you with this year's Annual Quality Water Report. We want to keep you informed about the excellent water and services we have delivered to you over the past year. Our goal is and always has been, to provide to you a safe and dependable supply of drinking water. Our water source is (name the source and type, i.e., wells, OurwellsdrawfromtheDuncanAquifer, surface water, i.e., River Jordan or we purchase our water from the City of Waterville which is treated surface water from Lake Duncan.)  (This is REQUIRED information).

If you have any questions about this report or concerning your water utility, please contact Courtney Blotske, City Auditor, 701-442-5481. We want our valued customers to be informed about their water utility. If you want to learn more, please attend any of our regularly scheduled meetings. They are held on the first and third Monday of every month at 7:00 pm at the Underwood City Hall. If you are aware of non-English speaking individuals who need help with the appropriate language translation, please call Courtney Blotske at the number listed above.

The City of Underwood would appreciate if its large volume water customers post copies of the Annual Drinking Water Quality Report in conspicuous locations or distribute them to tenants, residents, patients, students, and/or employees, so individuals who consume the water, but do not receive a water bill, can learn about our water system.

Underwood routinely monitors for contaminants in your drinking water according to Federal and State laws. The following table shows the results of our monitoring for the period of January 1st to December 31st, 2021. As authorized and approved by EPA, the state has reduced monitoring requirements for certain contaminants to less often than once per year because the concentrations of these contaminants are not expected to vary significantly from year to year.  Some of our data, though representative, is more than one year old.

The sources of drinking water (both tap and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs and wells. As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Contaminants That May Be Present in Source Water:

Microbial Contaminants, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

Inorganic Contaminants, such as salts and metals, which can be naturally-occurring or result from urban stormwater runoff, industrial, or domestic wastewater discharges, oil and gas production, mining, or farming.

Pesticides and Herbicides, which may come from a variety of sources such as agriculture, urban stormwater runoff, and residential uses.

Organic Chemical Contaminants, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can also come from gas stations, urban stormwater runoff, and septic systems.

Radioactive Contaminants, which can be naturally-occurring or be the result of oil and gas production and mining activities.

In order to ensure that tap water is safe to drink, the EPA prescribes regulations which limit the amount of certain contaminants in water provided by public water systems. Food and Drug Administration (FDA) regulations establish limits for contaminants in bottled water which must provide the same protection for public health.

In the following table you will find many terms and abbreviations you might not be familiar with. To help you better understand these terms we've provided the following definitions:

Not Applicable (NA)

Parts per million (ppm) or Milligrams per liter (mg/l) - one part per million corresponds to one minute in two years or a single penny in $10,000.

Parts per billion (ppb) or Micrograms per liter (g/l) - one part per billion corresponds to one minute in 2,000 years, or a single penny in $10,000,000.

Maximum Contaminant Level - The “Maximum Allowed” (MCL) is the highest level of a contaminant that is allowed in drinking water.  MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

Maximum Contaminant Level Goal - The “Goal” (MCLG) is the level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs allow for a margin of safety.

Maximum Residual Disinfectant Level Goal (MRDLG) – The level of a drinking water disinfectant below which there is no known or expected risk to health.  MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants.

Maximum Residual Disinfectant Level (MRDL) – The highest level of a disinfectant allowed in drinking water.  There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

| TEST RESULTS FOR THE CITY OF RIVERDALE and UNDERWOOD |
| --- |
| Contaminant | MCLG | MCL | Level Detected | Units | Range | Year | Violation Yes/No Other Info | Likely Source of Contamination |
| Lead/Copper |
| Copper |  | AL=1.3 | 0.339 90th % | ppm | NA | 2019 | No | Corrosion of household plumbing systems; erosion of natural deposits; leaching from wood preservatives |
| Lead |  | AL=15 | 1.94 90th % | ppb | NA | 2019 | No | Corrosion of household plumbing systems; erosion of natural deposits |
| Microbiological Contaminants |
| Turbidity | NA | TT=.04 | .04 | NTU | NA | 2021 | 100% of samples met Turbidity Limits | Soil runoff |
| Inorganic Contaminants |
| Barium | 2 | 2 | 0.049 | ppm | NA | 2016 | No | Discharge of drilling wastes; Discharge from metal refineries; Erosion of natural deposits |
| Fluoride | 4 | 4 | 0.78 | ppm | NA | 2016 | No | Erosion of natural deposits; Water additive which promotes strong teeth; Discharge from fertilizer and aluminum factories |
| Nitrate-Nittrite | 10 | 10 | ND (None Detected) | ppm | NA | 2021 | No | Runoff from fertilizer use; Leaching from septic tanks, sewage; Erosion of natural deposits |
| Disinfection By-Products |
| Total Halo acetic Acids (HAA5) | 0 | 60 | 39 | ppb | 26.4 to 43.5 | 2021 | No | By-product of drinking water chlorination |
| Total Trihalomethanes (TTHM-IDSE) | 0 | 80 | 57 | ppb | 46.47 to 52.59 | 2021 | No | By-product of drinking water chlorination |
| Disinfectants |
| Chloramine | MRDLG =4 | MRDL=4.0 | 1.4 | ppm | 0.3 to 2.3 | 2021 | No | Water additive used to control microbes |
| Radioactive Contaminants |
| Gross Alpha, Including RA, Excluding RN & U | 15 | 15 | ND | pCi/l | NA | 2017 | No | Erosion of natural deposits |
| Radium, Combined (226,228) | 0 | 5 | 1.61 | pCi/l | NA | 2017 | No | Erosion of natural deposits |
| Uranium, Combined | 0 | 30 | 1.58 | ppb | NA | 2017 | No | Erosion of natural deposits |
| Unregulated Contaminant |  |  |  |  |  |  |  |  |
| Unregulated Contaminants |
| Alkalinity, Carbonate |  |  | 4 | ppm | ND – 4 | 2021 | No | N/A |
| Bicarbonate as HCO3 |  |  | 211 | ppm | 199 – 211 | 2021 | No | N/A |
| Total Organic Carbon Removal |
| Alkalinity - Source |  |  | 173 | MG/L | 163.00 to 173.00 | 2021 | No | Naturally present in the environment |
| Carbon, Total Organic (TOC) - Finished |  |  | 3.38 | MG/L | 2.69 to 3.38 | 2021 | No | Naturally present in the environment |
| Carbon, total Organic (TOC) - Source |  |  | 4.01 | MG/L | 3.29 to 4.03 | 2021 | No | Naturally present in the environment |

EPA requires monitoring of over 80 drinking water contaminants.  Those listed in the table above are only contaminants detected in your drinking water.

Turbidity is the measure of the cloudiness of the water.  The City of Riverdale monitors it because it is a good indicator of the effectiveness of their filtration system.  The lowest monthly percentage of samples meeting turbidity limits was 100%.  The highest single turbidity measurement was 0.04 NTU. Any measurement in excess of 5 is a violation unless otherwise approved by the state.

Unregulated contaminants are those for which EPA has not established drinking water standards.  The purpose of unregulated contaminant monitoring is to assist EPA in determining the occurrence of unregulated contaminants in drinking water and whether future regulation is warranted.  Should you have any questions, please contact the city office.

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that water poses a health risk.  More information about contaminants and potential effects can be obtained by calling the EPA’s Safe Drinking Water Hotline (800-426-4791).

Some people may be more vulnerable to contaminants in drinking water than the general population. Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. EPA/Centers for Disease Control and Prevention (CDC) guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline (800-426-4791).

If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children.  Lead in drinking water is primarily from materials and components associated with service lines and home plumbing.  The City of Underwood is responsible for providing high quality drinking water, but cannot control the variety of materials used in plumbing components.  Use water from the cold tap for drinking and cooking.  When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking.  If you are concerned about lead in your drinking water, you may wish to have your water tested.  Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at http://www.epa.gov/safewater/lead.

The City of Underwood works diligently to provide top quality water to every tap.  We ask that all our customers help us protect our water sources, which are the heart of our community, our way of life and our children’s future.

Report Available

The City of Underwood will provide copies of the “Annual Drinking Water Quality Report” upon request. Copies can be obtained from the city auditor during normal business hours or by writing to Box 168, Underwood, ND 58576.